{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["表紙","内訳書"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":6,"defined_names":148,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"表紙","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"cut":false,"hidden":false,"merged":[[0,0,3,0],[0,1,3,10],[4,0,7,0],[4,1,7,10],[8,0,11,0],[8,1,11,1],[8,2,11,2],[8,3,11,4],[8,5,11,5],[12,0,15,0],[12,1,13,1],[12,2,13,2],[12,3,13,3],[12,4,13,10],[14,1,15,1],[14,2,15,2],[14,3,15,3],[14,4,15,10],[16,0,19,0],[16,1,19,2],[16,3,19,4],[16,5,18,5],[16,6,18,10],[19,5,22,5],[19,6,22,7],[19,8,22,8],[19,9,22,10],[20,0,22,4],[23,0,42,4],[23,5,25,5],[23,6,25,7],[23,8,25,8],[23,9,25,10],[26,5,42,10]]}
[3,"工事設計書"]
[]
[]
[]
["工事名","令和3年度　伊賀市消防本部西分署空気調和設備更新工事"]
[]
[]
[]
["施工場所",null,"伊賀市","治田",null,"地内"]
[]
[]
[]
["設計金額"]
[]
[]
[]
["工事期間","契約の日から　　",null,57,null,"設計","2021-08-01"]
[]
[]
[null,null,null,null,null,"設計",null,null,"検算"]
["工事概要"]
[]
[]
["伊賀市消防本部西分署における空気調和設備更新工事\n食堂（112形ペア）及び事務所（224形ツイン同時）の更新\n屋外機はいずれも屋上設置\n冷媒管及びドレン管は既設管流用とする",null,null,null,null,"工種","電",null,"コード","08"]

{"sheet":"内訳書","index":1,"n_rows":162,"n_cols":9,"rows_kept":162,"cut":false,"hidden":false,"merged":[[0,7,1,7],[0,8,1,8],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,1,4],[0,5,1,5],[0,6,1,6]]}
[null,"用途","名　　　　称","摘　　　　　　　要","数　　量","単位","単　　価","金　　額","備　　　考"]
[]
[]
[null,null,{"$f":"表紙!B5","v":"令和3年度　伊賀市消防本部西分署空気調和設備更新工事"},null," "]
[]
[]
[]
[null,"A","直接工事費",null,1,"式"]
[]
[null,"B","共通仮設費","共通仮設費率",1,"式"]
[]
[null,null,null,"積上共通仮設費",1,"式"]
[]
[]
[]
[null,null,"純工事費"]
[]
[]
[]
[null,"C","現場管理費","現場管理費率",1,"式"]
[]
[]
[]
[null,null,"工事原価"]
[]
[]
[]
[null,"D","一般管理費",null,1,"式"]
[]
[]
[]
[null,null,"工事価格"]
[]
[]
[]
[null,null,"消費税及び地方消費税額",null,1,"式"]
[]
[]
[]
[null,null,"設計金額"]
[]
[]
[]
[null,null,null,null," "]
[]
[null,"A","直接工事費"]
[]
[null,1,"空気調和設備工事",null,1,"式"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"A　の計"]
[]
[null,null,null,null," "]
[]
[null,1,"空気調和設備工事"]
[]
[null,null,"PAC-2","天井埋込カセット形　SZRC112BF　同等品",1,"組"]
[]
[null,null,"冷媒管","（液側Φ9.5　ガス側Φ15.9）"]
[]
[null,null,"ドレン管","（VP25）"]
[]
[null,null,"既設切断接続","冷媒管（液側、ガス側）",2,"個所"]
[]
[null,null,null,"ドレン管",1,"個所"]
[]
[null,null,"機器据付費",null,1,"式"]
[]
[null,null,"既設機器撤去",null,1,"式"]
[]
[]
[]
[null,null,"PAC-1","天井埋込カセット形　SZRG224AD　同等品",1,"組"]
[]
[null,null,"冷媒管","（液側Φ9.5　ガス側Φ19.05）"]
[]
[null,null,"ドレン管","（VP25）"]
[]
[null,null,"既設切断接続","冷媒管（液側、ガス側）",2,"個所"]
[]
[null,null,null,"ドレン管",1,"個所"]
[]
[null,null,"機器据付費",null,1,"式"]
[]
[null,null,"既設機器撤去",null,1,"式"]
[]
[]
[]
[null,null,"機器搬入","搬出とも",1,"式"]
[]
[]
[]
[]
[]
[null,null,"試運転調整",null,1,"式"]
[]
[null,null,"発生材処理費","冷媒フロン回収を含む",1,"式"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"1　の計"]